AtlasIED FS Series BIM file Usage Notes

DR.rfa Revit family covers the following models:

- FS12T-66

- FS12T-99

- FS12T-94

- FS12T-BT60

- FS12T-SUB

These files were created in Revit version 2023 and will be forward compatible with all newer software versions.

These are ‘face based’ families, intended to typically mount on a wall or other suitable surface

The .rfa family files and the .txt files must be in the same directory to work correctly.

When you first load a family into your project, you will see a dialog box listing all the available model combinations (Types) in the family along with all the data for each type.

The user may select any combination of Types desired for the project. This family and selected type(s) will show up in the “Communication Devices” section of your project browser’s “Families” section.

After placing the family on a face in the project, the Pitch (Vertical angle) aiming option is available in the family type properties.

There is also an option to turn on a ‘viewing cone’, to assist with speaker positioning.

Note – The enclosure is identical for all models.

FS12T-xx (All models)